## Slide 1: PMT Testing
03/08/2024
Kirsten McMichael, Gen Li, Daniell Shi

## Slide 2: Testing Parameters
ADC unit: 4 ns (250 MHz), 2/4096~0.488mV (2 Vpp, 12bit)
Warm up: 1400 V , 30 mins
Bias Voltages: 1400, 1500, 1600, 1700, 1800, 1900 V
LED on: 150kHZ, external trigger, 3.35 vpp LED, 10s DAQ
LED off (dark): 500Hz, external trigger, 0.8 vpp LED, 10mins DAQ

## Slide 3: Gain
The Gain is solely dependent by the dark rate test.

## Slide 4: Comparison - Gain
PMT23
PMT17
According to the gain of PMT15 at 1900V, we found the working voltage for each PMT to get the same gain.
Except PMT23 and PMT17, we will set these two at 1900V

## Slide 5: Comparison - Resolution

## Slide 6: Comparison - Resolution

## Slide 7: PMT1107

## Slide 8: PMT1107

## Slide 9: PMT1108

## Slide 10: PMT1108

## Slide 11: PMT1109

## Slide 12: PMT1109

## Slide 13: PMT1110

## Slide 14: PMT1110

## Slide 15: PMT1111

## Slide 16: PMT1111

## Slide 17: PMT1112

## Slide 18: PMT1112

## Slide 19: PMT1113

## Slide 20: PMT1113

## Slide 21: PMT1114

## Slide 22: PMT1114

## Slide 23: PMT1115

## Slide 24: PMT1115

## Slide 25: PMT1117

## Slide 26: PMT1117

## Slide 27: PMT1118

## Slide 28: PMT1118

## Slide 29: PMT1119

## Slide 30: PMT1119

## Slide 31: PMT1123

## Slide 32: PMT1123

## Slide 33: PMT1125

## Slide 34: PMT1125

## Slide 35: Dark Rate

## Slide 36: Resolution

## Slide 37: PMT1123
Test Voltage: 1900V
Dark rate on the test sheet: 1200 Hz
Mean Area in dark box test: 117

## Slide 38: PMT1115
Test Voltage: 1900V
Dark rate on the test sheet: 900 Hz
Mean Area in dark box test: 159

## Slide 39: PMT1107
Test Voltage: 1822V
Dark rate on the test sheet: 1200 Hz
Mean Area in dark box test: 159

## Slide 40: PMT1119
Test Voltage: 1819V
Dark rate on the test sheet: 1200 Hz
Mean Area in dark box test: 159

## Slide 41: PMT1111
Test Voltage: 1792V
Dark rate on the test sheet: 1000 Hz
Mean Area in dark box test: 159

## Slide 42: PMT1114
Test Voltage: 1774V
Dark rate on the test sheet: 1400 Hz
Mean Area in dark box test: 159

## Slide 43: PMT1110
Test Voltage: 1756V
Dark rate on the test sheet: 1100 Hz
Mean Area in dark box test: 159

## Slide 44: PMT1118
Test Voltage: 1732V
Dark rate on the test sheet: 1900 Hz
Mean Area in dark box test: 159

## Slide 45: PMT1125
Test Voltage: 1715V
Dark rate on the test sheet: 1500 Hz
Mean Area in dark box test: 159

## Slide 46: PMT1109
Test Voltage: 1706V
Dark rate on the test sheet: 1500 Hz
Mean Area in dark box test: 159

## Slide 47: PMT1108
Test Voltage: 1704V
Dark rate on the test sheet: 1800 Hz
Mean Area in dark box test: 159

## Slide 48: PMT1112
Test Voltage: 1643V
Dark rate on the test sheet: 1300 Hz
Mean Area in dark box test: 159

## Slide 49: PMT1113
Test Voltage: 1608V
Dark rate on the test sheet: 898 Hz
Mean Area in dark box test: 159

## Slide 50: PMT1117
Test Voltage: 1900V
Dark rate on the test sheet: 855 Hz
Mean Area in dark box test: 63

## Slide 51
Thank you for listening!